## German
Item-Code | Use-Case | SRI-Zuordnung | Wirkebene | Detailgrad | Perspektive | Lfd Nr. Effekte dieser Perspektive bei dem jeweiligen Detailgrad | Wertung des Effektes | Name des Effekts | Kurzbeschreibung der Wirkung | Quelle / Hinweise | ICON
1.1.1.1.1 | Aggregation | Reporting information regarding electricity consumption | räumlich | Geräte | ökologisch | 1 | + | Energieeinsparungen | Einsparpotenziale werden automatisiert erkannt und es besteht ein höherer Anreiz zum: Tauschen von „Stromfressern“, Anpassen des Energieverbrauchsverhaltens. Diese Wirkungen können jedoch nicht in allen Gruppe realisiert werden: Verbraucher*innen mit bereits sehr geringen und effizienten Verbräuchen sowie die Gruppe der „Verweigerer“ werden dadurch nicht erreicht. Es können zudem neue Anreize geschaffen werden wie z.B. das Verbrauchsverlagern zu Zeiten eines hohen EE-Anteils. Hier können auch z.B. Gamification-Ansätze zusätzliche Potenziale für das Energiesystem schaffen.
1.1.1.1.2 | Aggregation | Reporting information regarding electricity consumption | räumlich | Geräte | ökologisch | 2 | - | Negative Umweltwirkungen: Materialverbrauch | Es besteht ein enormer Sensorik und Datenerhebung und -verarbeitungs Aufwand. Hierfür werden vergleichsweise viele Ressourcen und Materialien benötigt. GGf. muss auch zusätzliche Hardware (z.B. Displays etc) für das Feed-back installiert werden - was den Ressourcen- und Materialbedarf weiter erhöht.
1.1.1.1.3 | Aggregation | Reporting information regarding electricity consumption | räumlich | Geräte | ökologisch | 3 |  | Negative Umweltwirkungen: Höherer Energieverbrauch der notwendigen Hardware | Zum Betrieb des Messsystems wird viel Energie benötigt.
1.1.1.1.4 | Aggregation | Reporting information regarding electricity consumption | räumlich | Geräte | ökologisch | 4 |  | Negative Umweltwirkungen: Höherer Energieverbrauch der notwendigen Datenverarbeitung | Für die Datenverarbeitung (Erhebung, Auswertung, Speicherung) und die Ergebnispräsentation (z.B. App oder Abrechnung) wird viel Energie benötigt.
1.1.1.1.5 | Aggregation | Reporting information regarding electricity consumption | räumlich | Geräte | ökologisch | 5 |  | Negative Umweltwirkungen: steigende Wartungsaufwände | Hoher Wartungsaufwand, hohe Fehleranfälligkeit einzelner Komponenten (z.B. Datenübertragung eines einzelnen Geräts), welche aber keine systemischen Auswirkungen haben. Problem der Kompatibilität neuer/altere Hardware/Software im System. GGf. Lock-In Effekte in Bezug auf die Nutzung bestimmter Hersteller – wettbewerbsverzerrend.
1.1.1.1.6 | Aggregation | Reporting information regarding electricity consumption | räumlich | Geräte | betrieblich | 1 |  | Nutzende: Einstellungen von Nutzendengruppen | Einstellungen: Einige Gruppen sind mit einem so hohen Grad der Technisierung unzufrieden (Trotzhaltung). Bei weiteren wird es zu einer Überforderung durch das Angebot kommen. Es ist jedoch davon auszugehen, dass eine große Gruppe der Bevölkerung diese Technologie akzeptiert und entsprechend des intendierten Zweckes nutzt (Energieeinsparungen). Es ist jedoch zu erwarten, dass es langfristig zu Abnutzungseffekten kommen kann.
1.1.1.1.7 | Aggregation | Reporting information regarding electricity consumption | räumlich | Geräte | betrieblich | 2 |  | Ökonomisch: höhere Kosten für die Entwicklung von Abrechnungsalgorithmen | Rechnungswesen: Die Abrechnung an sich ist weniger betroffen (es wird nach wie vor ein Zähler abgerechnet). Das gerätescharfe, nicht geeichte, Reporting von Verbräuchen bedarf zusätzlichen Aufwands (Rechnerkapazität, Entwicklung von Algorithmen etc.) und läuft Gefahr, kostspielig und zu detailliert (für viele Verbraucher*innen) zu werden. → Nur bei Interesse seitens der Verbraucher sinnvoll – jedoch vorab Entwicklung (Kosten/Ressourcenintensiv) durch Unternehmen nötig.
1.1.1.1.8 | Aggregation | Reporting information regarding electricity consumption | räumlich | Geräte | betrieblich | 3 |  | Ökonomisch: Höhere Kosten für den Betrieb der Messtechnik | Kosten: Unterhalt der Messtechnik und Datenverarbeitung/aufbereitung ist für die Verbraucher sehr teure → sozialer Ausgleich notwendig, wenn alle Bevölkerungsgruppen erreicht werden sollen. Einnahmen/Geschäftsmodelle: durch das individuelle Feedback und detaillierte Abrechnung sind Geschäftsmodelle basierend auf der Verarbeitung der Daten vorstellbar „Premium User“
1.1.1.1.9 | Aggregation | Reporting information regarding electricity consumption | räumlich | Geräte | betrieblich | 4 |  | Ökonomisch: Herstellerabhängigkeit | Problem der Kompatibilität neuer/altere Hardware/Software im System. GGf. Lock-In Effekte in Bezug auf die Nutzung bestimmter Hersteller – wettbewerbsverzerrend.
1.1.1.1.10 | Aggregation | Reporting information regarding electricity consumption | räumlich | Geräte | rechtlich | 1 |  | Anwendung der Datenschutz-Grundverordnung | Der gerätespezifische Energieverbrauch erlaubt Rückschlüsse auf das Nutzungsverhalten und beeinträchtigt damit jedenfalls im privaten Wohnraum das Privatleben der Bewohnenden aus Art. 7 GRCh. Diese Beeinträchtigung kann abhängig von der Messfrequenz unterschiedlich hoch sein (siehe dort). Die Daten sind personenbezogen und unterliegen den Anforderungen der Datenschutz-Grundverordnung.
1.1.1.1.11 | Aggregation | Reporting information regarding electricity consumption | räumlich | Geräte | rechtlich | 2 |  | Problem der Erforderlichkeit und Datenminimierung | Nach dem Datenminimierungsprinzip dürfen personenbezogene Daten nur verarbeitet werden, insoweit dies zur Erreichung eines konkreten Zwecks auch erforderlich ist (Art. 5 Abs. 1 lit. c) DSGVO). Insoweit dieser Zweck, und der aus den Daten gezogene Nutzen auch mit stärker aggregierten Daten erreicht werden kann, verstößt die Datenverarbeitung gegen das Datenminimierungsprinzip.
1.1.1.1.12 | Aggregation | Reporting information regarding electricity consumption | räumlich | Geräte | technisch | 1 |  | Identifkation von Geräteverbrauch | Liegen Informationen zum Energeiverbrauch auf Geräteebene vor, so kann identifziert werden, ob ein Gerät an oder aus ist. Es können aber auch Informationen zur Perfomance abgeleitet werden. Hierdurch können bspw. Fehler detektiert werden. Durch diese Daten lassen sich zudem Nutzungsmodelle bilden, welche sich auf verschiedene Anlagen aufteilen lassen. Diese Daten lassen sich für zahlreiche weitere Anwendungsfälle nutzen, von der Berechnung von Flexibilitäten (da sich verschiebbare und nicht verschiebbare Lasten) zeigen, hin zur Modellierung und Kalibrierung von einzelnen Geräten.
1.1.1.1.13 | Aggregation | Reporting information regarding electricity consumption | räumlich | Gebäude | ökologisch | 1 |  | Positive Umweltwirkungen: geringe Energieeinsparungen | Das Auffinden von Energieeinsparpotenzialen und das Minimieren des Energieverbrauchs werden durch die hohe räumliche Aggregation der Daten erschwert.
1.1.1.1.14 | Aggregation | Reporting information regarding electricity consumption | räumlich | Gebäude | ökologisch | 2 |  | Negative Umweltwirkungen: geringe Umweltlasten | Es werden weniger Messstellen & Sensorik zur Erfassung des Verbrauchs benötigt. Dies spart Ressourcen /Materialien. Auch muss weniger Energie für den Datentransfer aufgewendet werden.
1.1.1.1.15 | Aggregation | Reporting information regarding electricity consumption | räumlich | Gebäude | betrieblich | 1 |  | Umweltwirkungen: Geringer Wartungsaufwand vs. Geringe Resilienz | Niedriger Wartungs- und Instandsetzungsaufwand für die verwendeten Komponenten. Dadurch geringerer Materialverbrauch. Jedoch betrifft ein Ausfall systemrelevanter Komponenten das ggf. das gesamte Gebäude (geringe Resilienz)
1.1.1.1.16 | Aggregation | Reporting information regarding electricity consumption | räumlich | Gebäude | betrieblich | 2 |  | Ökonomisch: geringer Abrechnungsaufwand | Rechnungswesen: Einfachste Abrechnungsform – wenig Aufwand für die Versorgungsunternehmen. Einfach nachzuvollziehendes, wenn auch uninspierirendes Reporting für die Verbraucher.
1.1.1.1.17 | Aggregation | Reporting information regarding electricity consumption | räumlich | Gebäude | betrieblich | 3 |  | Ökonomisch: geringe Kosten durch Messbetrieb | Geringste Kosten für Messbetrieb, Datenaufbereitung etc. Einnahmen/Geschäftsmodelle: Einnahmen nur für Energieversorgung an sich. Einfacher Service – kein „umfassendes“ Geschäftsmodell für die Nutzenden an sich.
1.1.1.1.18 | Aggregation | Reporting information regarding electricity consumption | räumlich | Gebäude | betrieblich | 4 |  | Nutzende: Einstellungen von Nutzendengruppen | Es kommt zu keiner Technik-Überforderung/Verdruss durch die hohe Aggregation. Allerdings können sich einige Nutzende auch mehr Detailtiefe wünschen. Dem Großteil der Nutzenden wird ein geeigneter Benchmark zum Vergleich der Verbrauchs fehlen. Somit besteht wenig Anreiz sein eigenes Verbrauchsverhalten zu hinterfragen/anzupassen. Die eigenen Auswirkungen/Zuständigkeiten sind den Nutzenden nicht bewusst.
1.1.1.1.19 | Aggregation | Reporting information regarding electricity consumption | räumlich | Gebäude | rechtlich | 1 |  | Anwendung der Datenschutz-Grundverordnung | Insoweit es sich um ein Einfamilienhaus handelt, betrifft der Energieverbrauch des gesamten Gebäudes nach wie vor das Privatleben der Bewohnenden. Handelt es sich um ein Mehrfamilienhaus, kann die Aggregation allerdings bereits hoch genug sein, dass der Gesamtgebäudeverbrauch nicht mehr einzelnen Wohnparteien zugeordnet werden kann.
1.1.1.1.20 | Aggregation | Reporting information regarding electricity consumption | räumlich | Gebäude | rechtlich | 2 |  | Vorteil bei der Datenschutz Compliance | - Durch die Implementierung technisch-organisatorischer Maßnahmen kann ggf. der Personenbezug ausgeschlossen werden, und damit der Anwendungsbereich der DSGVO. - Dem Verantwortlichen können die rechtlichen Privilegierungen aus Art. 11 DSGVO zugutekommen. Manche Betroffenenrechte (z.B. Auskunfts- und Berichtigungsansprüche) kommen dann nicht zur Anwendung. - Der Verantwortlichen kann sich bei Interessenabwägungen (z.B. Art. 6 I f DSGVO) auf geringe Eingriffsintensität berufen
1.1.1.1.21 | Aggregation | Reporting information regarding electricity consumption | räumlich | Gebäude | rechtlich | 3 |  | Nachteil bei der Datenschutz Compliance | Um den Anwendungsbereich der DSGVO auszuschließen muss zwischen Art und Größe der Gebäude unterschieden werden. Das Aggregationslevel ist dagegen noch nicht hoch geug, um den Personenbezug pauschal ausschließen zu können.
1.1.1.1.22 | Aggregation | Reporting information regarding electricity consumption | räumlich | Gebäude | technisch | 1 |  | Informationen zum Gebäudeverbrauch | Liegen Informationen zum Energieverbrauch auf Gebäudeebene vor, so lässt sich zurückschließen, ob in dem Gebäude Strom verbraucht wird. Mittels dem Verbrauch lassen sich bspw. Benchmarks gegenüber weiteren Gebäuden in einer vergleichbaren (bspw. Größe, Bewohner*innen, etc.) anstellen. Auch lassen sich durch Rückschlüsse Aussagen zu einzelnen Verbrauchern treffen (bspw. Wärmepumpe läuft im Sommer). Diese Daten lassen sich zudem nutzen, um Gebäudemodelle zu kalibrieren, Anlagentechnik auszulegen oder in aggregierte Form für weitere Planungsmethodiken.
1.1.1.1.23 | Aggregation | Reporting information regarding electricity consumption | räumlich | 3 Gebäude | ökologisch | 1 |  | Lasten: geringer Material- und Ressourcenverbrauch für den Betrieb | - Dem Verantwortlichen können die rechtlichen Privilegierungen aus Art. 11 DSGVO zugutekommen. Manche Betroffenenrechte (z.B. Auskunfts- und Berichtigungsansprüche) kommen dann nicht zur Anwendung.
1.1.1.1.24 | Aggregation | Reporting information regarding electricity consumption | räumlich | 3 Gebäude | ökologisch | 2 |  | Positive Wirkungen: keine zusätzlichen Vorteile | - Der Verantwortlichen kann sich bei Interessenabwägung (z.B. Art. 6 I f DSGVO) auf geringe Eingriffsintensität berufen
1.1.1.1.25 | Aggregation | Reporting information regarding electricity consumption | räumlich | 3 Gebäude | betrieblich | 1 |  | Nutzende: keine Vergleichsmöglichkeiten | Für einzelne Bewohnende bietet dieses Aggregationslevel keine Vergleichsmöglichkeit für den eigenen Stromverbrauch und damit kein Anreiz zu Einsparmaßnahmen.
1.1.1.1.26 | Aggregation | Reporting information regarding electricity consumption | räumlich | 3 Gebäude | betrieblich | 2 |  | Ökonomisch: Geschäftsmodellentwicklung Quartierskonzepte | Die einzelne Abbrechnung des Verbrauchs von mehreren Gebäuden - auch über verschiedene Netzanschlusspunkte hinweg - ermöglicht eine effektive Nutzung von lokal erzeugtem erneuerbaren Strom. Darauf aufbauen können neue Geschäftsmodelle entwickelt werden, die sich auf die bedarfsgerechte Versorgung auf Basis dezenztraler Erzeugungsanlagen im Quartier spezialisieren.
1.1.1.1.27 | Aggregation | Reporting information regarding electricity consumption | räumlich | 3 Gebäude | rechtlich | 1 |  | Keine Anwendung der Datenschutz-Grundverordnung | Die aggregierten Daten sind zunächst nicht personenbezogen und fallen damit nicht in den Anwendungsbereich des Datenschutzrechts. Achtung: Werden die aggregierten Daten mit dem Zweck verarbeitet, die Bewohner der drei Gebäude als Gruppe zu evaluieren, findet die DSGVO erneut Anwendung.
1.1.1.1.28 | Aggregation | Reporting information regarding electricity consumption | räumlich | 4 Gebäude | rechtlich | 2 |  | Vorteil bei der Datenschutz Compliance | Zentrale Prinzipien des Datenschutzes, wie die Speicher- oder Zweckbegrenzung (Daten dürfen ausschließlich zu vorher definierten Zwecken verarbeitet werden), das Transparenz- oder das Rechtmäßigkeitsprinzip (Erfordernis einer Rechtsgrundlage – z.B. Einwilligung) müssen nicht beachtet werden.
1.1.1.1.29 | Aggregation | Reporting information regarding electricity consumption | räumlich | 3 Gebäude | technisch | 1 |  | Verbrauch für mehrere Gebäude | Liegen Informationen zum Energieverbrauch auf der Ebene von drei Gebäuden vor, so lassen sich keine direkten Rückschlüsse auf einzelne Aktionen ziehen. Diese Daten können aber trozdem für die Planung von Energiebedarfen, bspw. in Form der kommunalen Wärmeplanung genutzt werden.
1.1.1.1.30 | Aggregation | Reporting information regarding electricity consumption | räumlich | 5 Sek. | ökologisch | 1 |  | Lasten: hoher energetischer Aufwand für die Datenverarbeitung | Es werden sehr viele Daten erhoben, übermittelt und gespeichert. Damit steigen auch die entsprechenden Energiebedarfe für die gesamte Datenverarbeitungskette. Hier muss dementsprechend ein hoher energetischer Aufwand betrieben werden.
1.1.1.1.31 | Aggregation | Reporting information regarding electricity consumption | räumlich | 5 Sek. | ökologisch | 2 |  | Lasten: Höhere Materialbelastung/höherer Materialaufwand | Die Notwendigkeit einer hochaufgelösten Messung erhöht auch die Beanspruch der entsprechenden Messgeräte. Die entstehende Abnutzung kann zu höheren/schnelleren Ausfällen und dadurch zu einem erhöhten Materialverbrauch führen.
1.1.1.1.32 | Aggregation | Reporting information regarding electricity consumption | räumlich | 5 Sek. | ökologisch | 3 |  | Positive Wirkungen: längere Gerätenutzung durch das Vermeiden von Lastspitzen | Die hohe zeitliche Auflösung erlaubt das Identifizieren von Lastspitzen, diebestimmte elektrische Geräte überproportional stark beeinflussen und ihre Lebensdauer verkürzen kann. Werden diese dank der hohen Auflösung erkannt, können entsprechende Abstellmaßnahmen angewandt werden. Dies führt zu einer besseren/längeren Ressourcen- und Materialnutzung.
1.1.1.1.33 | Aggregation | Reporting information regarding electricity consumption | räumlich | 5 Sek. | ökologisch | 4 |  | Positive Wirkungen: hohe Prognosegüte | Die hochaufgelösten Daten erlauben eine genauere Prognose des Stromverbrauchs und damit eine bessere Steuerbarkeit von erneuerbaren Energieanlagen und entsprechenden Verbrauchern (E-Auto, Wärmepumpe). Der lokal verbrauchte Anteil erneuerbaren Stroms kann so erhöht und Ressourcen für den Netzausbau eingespart werden.
1.1.1.1.34 | Aggregation | Reporting information regarding electricity consumption | räumlich | 5 Sek. | ökologisch | 5 |  | Positive Wirkungen: Identifizieren von Stromfressern | Durch die hohe Auflösung können stromintensive Geräte im Verbrauchsprofil des Haushaltes identifiziert werden. Die Ersetzung dieser "Stromfresser" kann zu Energieeinsparungen führen.
1.1.1.1.35 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 5 Sek. | betrieblich | 1 |  | Ökonomisch: Ermöglichung von Geschäftsmodelle zu Lastspitzen/Netzdienstleistungen | Die Bereitstellung kurzfristiger Leistungen oder das Auffangen von Erzeugerspitzen erfordert eine hohe zeitliche Auflösung und die Kenntnis der damit einhergehenden Stabilitätsparmeter (Spannung, Frequenz). Durch die hohe zeitliche Auflösung können Steuerbare Erzeuger und Verbraucher in Geschäftsmodelle eingebunden werden, die diese Lastspitzen auf kurzfristiger Weise entgegenwirken können.
1.1.1.1.36 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 5 Sek. | betrieblich | 2 |  | Nutzende: geringe Relevanz für die Verbraucher*innen | Die hohe zeiltiche Auflösung ist für die Nutzenden in der Regel über einen längeren Zeitraum nicht relevant. Lediglich die punktuelle Identifizerung von Stromfressern ist hier relevant.
1.1.1.1.37 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 5 Sek. | rechtlich | 1 |  | Anwendung der Datenschutz-Grundverordnung | Im Sekundenbereich erhobene Daten erlauben Rückschlüsse darüber, welche Geräte genutzt werden und wie diese genutzt werden. Dadurch können mitunter Detailinformationen über das Nutzungsverhalten, wie z.B. das eingeschaltete Fernsehprogramm abgeleitet werden. Diese Informationen betreffen den Inhalt menschlichen Verhaltens innerhalb seiner räumlich geschützten Lebensbereichs und betrifft daher den Kernbereich der Privatsphäre. Die Daten sind personenbezogen.
1.1.1.1.38 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 5 Sek. | rechtlich | 2 |  | Problem der Erforderlichkeit und Datenminimierung | Um das Datenminimierungsprinzip (Art. 5 Abs. 1 lit. c) DSGVO) zu wahren, muss dargelegt werden, dass der Verarbeitungszweck mit zeitlich stärker aggregierten Daten nicht erreicht werden kann.
1.1.1.1.39 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 5 Sek. | technisch | 1 |  | Hoher zeitlicher Detailgrad | Daten mit 5 sekündlicher Auflösung lassen unter anderem sich für Modellierungen im Strombereich nutzen, bei denen Fragen der Dynamik von Strommodellen relevant sind. Laststpizen lassen sich gut erkennen. | Foley, A. M., B. P. Ó Gallachóir, J. Hur, R. Baldick, and E. J. McKeogh. “A Strategic Review of Electricity Systems Models.” Energy, The 3rd International Conference on Sustainable Energy and Environmental Protection, SEEP 2009, 35, no. 12 (December 1, 2010): 4522–30. https://doi.org/10.1016/j.energy.2010.03.057.
1.1.1.1.40 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 h | ökologisch | 1 |  | Lasten: höherer Datenaufwand | Der energetische Aufwand für die Datenerhebung fällt im Verhältnis zu den Potenzialen, die sich hinsichtlich der positiven Umweltwirkungen ergeben, gering aus.
1.1.1.1.41 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 h | ökologisch | 2 |  | Positive Wirkungen: Synchronisation von Erzeugung und Verbrauch | Durch die besserer Gleichzeitigkeit von Erzeugung und Verbrauch - gerade auch im Zuge eines steigenden Anteils erneuerbarer Energien - können die zur Verfügung stehenden Kapazitäten besser genutzt werden. Dadurch können höhere Umweltlasten durch zusätzlich benötigte Ressourcen/Materialien vermieden werden
1.1.1.1.42 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 h | ökologisch | 3 |  | Positive Wirkungen: Einsparungen durch Verhaltensänderungen | Nutzenden wird es ermöglicht, ihr Verbrauchsverhalten zu analysieren und ggf. Anzupassen. Dies kann z.B. einen geringeren Gesamtstromverbrauch bewirken.
1.1.1.1.43 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 h | betrieblich | 1 |  | Ökonomisch: Ausnutzen ökonomischer Anreize in Geschäftsmodellen | Geschäftmodelle können ökonomische Anreize nutzen, den Stromverbrauch nach dem Angebot erneuerbarer Energien auszurichten (Verbrauchsverlagerung).
1.1.1.1.44 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 h | betrieblich | 1 |  | Nutzende: Aktivierung durch Einbindung | Die Nutzenden nehmen bei dieser zeitliche Auflösung bereits eine aktive Rolle ein. Sie werden in das System mit eingebunden. Abhängig von der Affiniät des einzelnen wird die aktive Rolle stärker/schwächer ausgeführt.
1.1.1.1.45 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 h | rechtlich | 1 |  | Anwendung der Datenschutz-Grundverordnung | Die Daten enthalten weniger Information über den Inhalt des Nutzendenverhaltens, wodurch dem Prinzip der Datenminimierung Rechnung getragen wird. Es sind ggf. aber weiterhin detaillierte Einblicke in das Nutzungsverhalten innerhalb den privaten Lebensbereichs möglich.
1.1.1.1.46 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 h | technisch | 1 |  | Typische zeitliche Auflösung für Modellierungen | Daten mit einer 1h Auflösung werden für viele Anwendungen in der Energietechnik genutzt. Auf Quartiersebene ist dies eine typische Auflösung zur Modellierung von Systemen. | Zhan, Sicheng, and Adrian Chong. “Data Requirements and Performance Evaluation of Model Predictive Control in Buildings: A Modeling Perspective.” Renewable and Sustainable Energy Reviews 142 (May 1, 2021): 110835. https://doi.org/10.1016/j.rser.2021.110835. Klemm, Christian, and Peter Vennemann. “Modeling and Optimization of Multi-Energy Systems in Mixed-Use Districts: A Review of Existing Methods and Approaches.” Renewable and Sustainable Energy Reviews 135 (January 1, 2021): 110206. https://doi.org/10.1016/j.rser.2020.110206.
1.1.1.1.47 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 Monat | ökologisch | 1 |  | Lasten: höhere Anzahl an Redundanzen im System notwendig | Die fehlende Synchronisation von Erzeugung und Verbrauch führt zu einem höheren Materialverbrauch, da infrastrukturelle Redundanzen geschaffen werden müssen - vor allem bei einem Energiesystem basierend auf erneuerbaren Energien.
1.1.1.1.48 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 Monat | ökologisch | 2 |  | Lasten: geringer Material- und Ressourcenverbrauch für den Betrieb | Der Ressourcen- und Materialverbrauch sowie der Energieaufwand für den Betrieb sind am geringsten.
1.1.1.1.49 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 Monat | ökologisch | 3 |  | Positive Wirkungen: keine zusätzlichen Vorteile | Es können keine zusätzlichen positiven Wirkungen (außer der gerigen ökologischen Lasten) realisiert werden.
1.1.1.1.50 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 Monat | betrieblich | 1 |  | Ökonomisch: wenig Spielraum zur Entwicklung neuer Geschäftsmodelle | Diese Auflösungsebene bietet wenig Spielraum für die Entwicklung von Geschäftsmodellen für digitale Anwendungen basierend auf der flexiblen Erzeugung/Verbrauch von Strom.
1.1.1.1.51 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 Monat | betrieblich | 1 |  | Nutzende: keine aktive Nutzendeneinbindung | Für die Nutzenden wird kein Mehrwert geschaffen. Eine tiefergehende Beschäftigung mit dem Stromverbrauch ist nicht möglich (auch wenn Interesse vorhanden). Keine Überforderung durch zu viel Daten. Effektiv findet keine Nutzendeneinbindung statt - der/die Nutzende ist eine passive Rolle im System.
1.1.1.1.52 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 Monat | rechtlich | 1 |  | Anwendung der Datenschutz-Grundverordnung | Auch der monatliche Energieverbrauch selbst ist vom Privatlebensschutz umfasst und kann daher unabhängig vom konkreten Verarbeitungszweck eine Verarbeitung personenbezogener Daten darstellen. Es können aber keine genauen Rückschlüsse mehr über das Verhalten der Bewohnenden getroffen werden, womit die Beeinträchtigung des Privatlebens gering bleibt.
1.1.1.1.53 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 Monat | rechtlich | 2 |  | Vorteil bei der Datenschutz Compliance | Aufgrund der geringen Beeinträchtigung des Privatlebens kann bereits im Zusammenspiel mit einer geringen räumlich Aggregation (siehe dort) der Personenbezug der Daten ausgeschlossen werden.
1.1.1.1.54 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 Monat | technisch | 1 |  | Niedrige zeitliche Auflösung | Daten mit monatlicher Auflösung können genutzt werden, um saisonale Bedarfsplanungen zu unterstützen. Auch können Simulationsmodelle hiermit teilweise kalibriert werden.

## English
Item-Code | Use-Case | SRI-Zuordnung | Wirkebene | Detailgrad | Perspektive | Lfd Nr. Effekte dieser Perspektive bei dem jeweiligen Detailgrad | Wertung des Effektes | Name des Effekts | Kurzbeschreibung der Wirkung | Quelle / Hinweise | ICON
1.1.1.1.1 | Aggregation | Reporting information regarding electricity consumption | spatial | Devices | ökologisch | 1 | + | Energy savings | Potential savings are recognized automatically and there is a greater incentive to: Replacing "power guzzlers", adapting energy consumption behavior. However, these effects cannot be realized in all groups: Consumers with already very low and efficient consumption and the group of "refuseniks" will not be reached. New incentives can also be created, such as shifting consumption at times when the share of renewable energy is high. Gamification approaches, for example, can also create additional potential for the energy system.
1.1.1.1.2 | Aggregation | Reporting information regarding electricity consumption | spatial | Devices | ökologisch | 2 | - | Negative environmental impacts: Material consumption | There is an enormous amount of sensor technology and data collection and processing involved. This requires a comparatively large amount of resources and materials. Additional hardware (e.g. displays etc.) may also have to be installed for the feedback - which further increases the resources and materials required.
1.1.1.1.3 | Aggregation | Reporting information regarding electricity consumption | spatial | Devices | ökologisch | 3 |  | Negative environmental impacts: Higher energy consumption of the necessary hardware | A lot of energy is required to operate the measuring system.
1.1.1.1.4 | Aggregation | Reporting information regarding electricity consumption | spatial | Devices | ökologisch | 4 |  | Negative environmental impacts: Higher energy consumption of the necessary data processing | A lot of energy is required for data processing (collection, evaluation, storage) and the presentation of results (e.g. app or billing).
1.1.1.1.5 | Aggregation | Reporting information regarding electricity consumption | spatial | Devices | ökologisch | 5 |  | Negative environmental impact: increasing maintenance costs | High maintenance effort, high susceptibility to errors of individual components (e.g. data transmission of an individual device), which, however, have no systemic effects. Problem of compatibility of new/old hardware/software in the system. Possible lock-in effects with regard to the use of certain manufacturers - distorting competition.
1.1.1.1.6 | Aggregation | Reporting information regarding electricity consumption | spatial | Devices | betrieblich | 1 |  | Users: Attitudes of user groups | Attitudes: Some groups are dissatisfied with such a high degree of mechanization (defiant attitude). Others will be overwhelmed by what is on offer. However, it can be assumed that a large group of the population will accept this technology and use it for its intended purpose (energy savings). However, it is to be expected that there may be wear and tear effects in the long term.
1.1.1.1.7 | Aggregation | Reporting information regarding electricity consumption | spatial | Devices | betrieblich | 2 |  | Economic: higher costs for the development of billing algorithms | Billing: Billing itself is less affected (a meter is still used for billing). Device-specific, non-calibrated reporting of consumption requires additional effort (computer capacity, development of algorithms, etc.) and runs the risk of becoming costly and too detailed (for many consumers). → Only useful if consumers are interested - but development (cost/resource-intensive) by companies necessary in advance.
1.1.1.1.8 | Aggregation | Reporting information regarding electricity consumption | spatial | Devices | betrieblich | 3 |  | Economic: Higher costs for operating the measurement technology | Costs: maintenance of measurement technology and data processing/preparation is very expensive for consumers → social balance necessary if all population groups are to be reached. Revenue/business models: individual feedback and detailed billing make business models based on the processing of data conceivable "premium users"
1.1.1.1.9 | Aggregation | Reporting information regarding electricity consumption | spatial | Devices | betrieblich | 4 |  | Economic: Manufacturer dependency | Problem of compatibility of new/old hardware/software in the system. Possible lock-in effects with regard to the use of certain manufacturers - distorting competition.
1.1.1.1.10 | Aggregation | Reporting information regarding electricity consumption | spatial | Devices | rechtlich | 1 |  | Application of the General Data Protection Regulation | The device-specific energy consumption allows conclusions to be drawn about usage behavior and thus affects the private life of the occupants from Art. 7 GDPR, at least in private living spaces. This impairment can vary depending on the measurement frequency (see there). The data is personal and is subject to the requirements of the General Data Protection Regulation.
1.1.1.1.11 | Aggregation | Reporting information regarding electricity consumption | spatial | Devices | rechtlich | 2 |  | Problem of necessity and data minimization | According to the data minimization principle, personal data may only be processed insofar as this is necessary to achieve a specific purpose (Art. 5 para. 1 lit. c) GDPR). Insofar as this purpose and the benefit derived from the data can also be achieved with more aggregated data, the data processing violates the data minimization principle.
1.1.1.1.12 | Aggregation | Reporting information regarding electricity consumption | spatial | Devices | technisch | 1 |  | Identification of device consumption | If information on energy consumption is available at device level, it is possible to identify whether a device is on or off. However, information on performance can also be derived. This can be used to detect faults, for example. This data can also be used to create usage models that can be broken down into different systems. This data can be used for numerous other applications, from the calculation of flexibilities (as shiftable and non-shiftable loads) to the modeling and calibration of individual devices.
1.1.1.1.13 | Aggregation | Reporting information regarding electricity consumption | spatial | Building | ökologisch | 1 |  | Positive environmental impact: low energy savings | Finding potential energy savings and minimizing energy consumption is made more difficult by the high spatial aggregation of data.
1.1.1.1.14 | Aggregation | Reporting information regarding electricity consumption | spatial | Building | ökologisch | 2 |  | Negative environmental impacts: low environmental impact | Fewer measuring points and sensors are needed to record consumption. This saves resources/materials. Less energy is also required for data transfer.
1.1.1.1.15 | Aggregation | Reporting information regarding electricity consumption | spatial | Building | betrieblich | 1 |  | Environmental impacts: Low maintenance vs. low resilience | Low maintenance and repair costs for the components used. This results in lower material consumption. However, a failure of system-relevant components may affect the entire building (low resilience)
1.1.1.1.16 | Aggregation | Reporting information regarding electricity consumption | spatial | Building | betrieblich | 2 |  | Economical: low billing costs | Accounting: Simplest form of billing - little effort for the utility companies. Easy-to-understand, albeit uninspiring, reporting for consumers.
1.1.1.1.17 | Aggregation | Reporting information regarding electricity consumption | spatial | Building | betrieblich | 3 |  | Economical: low costs due to measurement operation | Lowest costs for measurement operation, data preparation, etc. Revenue/business models: Revenue only for energy supply itself. Simple service - no "comprehensive" business model for users per se.
1.1.1.1.18 | Aggregation | Reporting information regarding electricity consumption | spatial | Building | betrieblich | 4 |  | Users: Attitudes of user groups | There is no technical overload/annoyance due to the high level of aggregation. However, some users may wish for more depth of detail. The majority of users will lack a suitable benchmark for comparing consumption. This means that there is little incentive to question/adjust their own consumption behavior. Users are not aware of their own effects/responsibilities.
1.1.1.1.19 | Aggregation | Reporting information regarding electricity consumption | spatial | Building | rechtlich | 1 |  | Application of the General Data Protection Regulation | In the case of a single-family home, the energy consumption of the entire building still relates to the private lives of the residents. If it is a multi-family house, however, the aggregation may already be high enough that the total building consumption can no longer be allocated to individual residential parties.
1.1.1.1.20 | Aggregation | Reporting information regarding electricity consumption | spatial | Building | rechtlich | 2 |  | Advantage in data protection compliance | - By implementing technical and organizational measures, the personal reference can be excluded if necessary, and thus the scope of application of the GDPR. - The controller may benefit from the legal privileges under Art. 11 GDPR. Some data subject rights (e.g. rights of access and rectification) will then not apply. - When weighing up interests (e.g. Art. 6 I f GDPR), the controller can invoke a low intensity of interference
1.1.1.1.21 | Aggregation | Reporting information regarding electricity consumption | spatial | Building | rechtlich | 3 |  | Disadvantage in data protection compliance | In order to exclude the scope of the GDPR, a distinction must be made between the type and size of the buildings. However, the aggregation level is not yet high enough to be able to exclude the personal reference across the board.
1.1.1.1.22 | Aggregation | Reporting information regarding electricity consumption | spatial | Building | technisch | 1 |  | Information on building consumption | If information on energy consumption is available at building level, it can be concluded whether electricity is consumed in the building. The consumption can be used, for example, to establish benchmarks against other buildings of a comparable size (e.g. size, residents, etc.). Conclusions can also be drawn about individual consumers (e.g. heat pump running in summer). This data can also be used to calibrate building models, design system technology or in aggregated form for further planning methods.
1.1.1.1.23 | Aggregation | Reporting information regarding electricity consumption | spatial | 3 Buildings | ökologisch | 1 |  | Loads: low consumption of materials and resources for operation | - The controller may benefit from the legal privileges under Art. 11 GDPR. Some data subject rights (e.g. rights of access and rectification) will then not apply.
1.1.1.1.24 | Aggregation | Reporting information regarding electricity consumption | spatial | 3 Buildings | ökologisch | 2 |  | Positive effects: no additional benefits | - The controller can invoke a low intensity of interference when balancing interests (e.g. Art. 6 I f GDPR)
1.1.1.1.25 | Aggregation | Reporting information regarding electricity consumption | spatial | 3 Buildings | betrieblich | 1 |  | Users: no possibilities for comparison | For individual residents, this level of aggregation offers no opportunity to compare their own electricity consumption and therefore no incentive to take energy-saving measures.
1.1.1.1.26 | Aggregation | Reporting information regarding electricity consumption | spatial | 3 Buildings | betrieblich | 2 |  | Economic: Business model development Neighborhood concepts | The individual billing of the consumption of several buildings - even across different grid connection points - enables the effective use of locally generated renewable electricity. Based on this, new business models can be developed that specialize in demand-oriented supply based on decentralized generation systems in the district.
1.1.1.1.27 | Aggregation | Reporting information regarding electricity consumption | spatial | 3 Buildings | rechtlich | 1 |  | No application of the General Data Protection Regulation | The aggregated data is initially not personal data and therefore does not fall within the scope of data protection law. Please note: If the aggregated data is processed for the purpose of evaluating the residents of the three buildings as a group, the GDPR applies again.
1.1.1.1.28 | Aggregation | Reporting information regarding electricity consumption | spatial | 4 Buildings | rechtlich | 2 |  | Advantage in data protection compliance | Central principles of data protection, such as storage or purpose limitation (data may only be processed for previously defined purposes), the principle of transparency or the principle of legality (requirement of a legal basis - e.g. consent) do not have to be observed.
1.1.1.1.29 | Aggregation | Reporting information regarding electricity consumption | spatial | 3 Buildings | technisch | 1 |  | Consumption for several buildings | If information on energy consumption is available at the level of three buildings, no direct conclusions can be drawn about individual actions. However, this data can still be used for planning energy requirements, e.g. in the form of municipal heat planning.
1.1.1.1.30 | Aggregation | Reporting information regarding electricity consumption | spatial | 5 Sek. | ökologisch | 1 |  | Loads: high energy consumption for data processing | A great deal of data is collected, transmitted and stored. This also increases the corresponding energy requirements for the entire data processing chain. Accordingly, a high energy input is required here.
1.1.1.1.31 | Aggregation | Reporting information regarding electricity consumption | spatial | 5 Sek. | ökologisch | 2 |  | Loads: Higher material load/higher material costs | The need for high-resolution measurement also increases the strain on the corresponding measuring devices. The resulting wear and tear can lead to higher/faster failures and thus to increased material consumption.
1.1.1.1.32 | Aggregation | Reporting information regarding electricity consumption | spatial | 5 Sek. | ökologisch | 3 |  | Positive effects: longer appliance usage by avoiding peak loads | The high temporal resolution makes it possible to identify load peaks that can have a disproportionately strong impact on certain electrical devices and shorten their service life. If these are detected thanks to the high resolution, appropriate corrective measures can be taken. This leads to better/longer use of resources and materials.
1.1.1.1.33 | Aggregation | Reporting information regarding electricity consumption | spatial | 5 Sek. | ökologisch | 4 |  | Positive effects: high forecast quality | The high-resolution data allows a more accurate forecast of electricity consumption and therefore better controllability of renewable energy systems and corresponding consumers (e-car, heat pump). The proportion of renewable electricity consumed locally can thus be increased and resources for grid expansion can be saved.
1.1.1.1.34 | Aggregation | Reporting information regarding electricity consumption | spatial | 5 Sek. | ökologisch | 5 |  | Positive effects: Identifying power guzzlers | Thanks to the high resolution, energy-intensive appliances can be identified in the household's consumption profile. Replacing these "power guzzlers" can lead to energy savings.
1.1.1.1.35 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 5 Sek. | betrieblich | 1 |  | Economic: Enabling business models for peak loads/grid services | The provision of short-term power or the absorption of generation peaks requires a high temporal resolution and knowledge of the associated stability parameters (voltage, frequency). Thanks to the high temporal resolution, controllable generators and consumers can be integrated into business models that can counteract these load peaks in the short term.
1.1.1.1.36 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 5 Sek. | betrieblich | 2 |  | Users: low relevance for consumers | The high line resolution is generally not relevant for users over a longer period of time. Only the selective identification of power guzzlers is relevant here.
1.1.1.1.37 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 5 Sek. | rechtlich | 1 |  | Application of the General Data Protection Regulation | Data collected in the range of seconds allows conclusions to be drawn about which devices are used and how they are used. As a result, detailed information about usage behavior, such as the television program switched on, can sometimes be derived. This information relates to the content of human behavior within their spatially protected living space and therefore concerns the core area of privacy. The data is personal.
1.1.1.1.38 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 5 Sek. | rechtlich | 2 |  | Problem of necessity and data minimization | In order to comply with the data minimization principle (Art. 5 para. 1 lit. c) GDPR), it must be demonstrated that the processing purpose cannot be achieved with more aggregated data over time.
1.1.1.1.39 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 5 Sek. | technisch | 1 |  | High level of temporal detail | Data with a resolution of 5 seconds can be used, among other things, for modeling in the electricity sector, where questions about the dynamics of electricity models are relevant. Load stpices can be easily recognized. | Foley, A. M., B. P. Ó Gallachóir, J. Hur, R. Baldick, and E. J. McKeogh. “A Strategic Review of Electricity Systems Models.” Energy, The 3rd International Conference on Sustainable Energy and Environmental Protection, SEEP 2009, 35, no. 12 (December 1, 2010): 4522–30. https://doi.org/10.1016/j.energy.2010.03.057.
1.1.1.1.40 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 h | ökologisch | 1 |  | Burdens: higher data costs | The energy expenditure for data collection is low in relation to the potential for positive environmental impacts.
1.1.1.1.41 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 h | ökologisch | 2 |  | Positive effects: Synchronization of generation and consumption | By improving the simultaneity of generation and consumption - especially in the course of an increasing share of renewable energies - the available capacities can be better utilized. As a result, higher environmental burdens due to additional resources/materials required can be avoided
1.1.1.1.42 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 h | ökologisch | 3 |  | Positive effects: Savings through behavioral changes | Users are able to analyze their consumption behavior and adjust it if necessary. This can result in lower overall electricity consumption, for example.
1.1.1.1.43 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 h | betrieblich | 1 |  | Economic: Exploiting economic incentives in business models | Business models can use economic incentives to align electricity consumption with the supply of renewable energies (shift in consumption).
1.1.1.1.44 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 h | betrieblich | 1 |  | Users: Activation through integration | The users already play an active role in this temporal resolution. They are integrated into the system. Depending on the affinity of the individual, the active role becomes stronger/weaker.
1.1.1.1.45 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 h | rechtlich | 1 |  | Application of the General Data Protection Regulation | The data contains less information about the content of user behaviour, which takes into account the principle of data minimization. However, it may still be possible to gain detailed insights into user behavior within the private sphere.
1.1.1.1.46 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 h | technisch | 1 |  | Typical temporal resolution for modeling | Data with a 1h resolution is used for many applications in energy technology. At district level, this is a typical resolution for modeling systems. | Zhan, Sicheng, and Adrian Chong. “Data Requirements and Performance Evaluation of Model Predictive Control in Buildings: A Modeling Perspective.” Renewable and Sustainable Energy Reviews 142 (May 1, 2021): 110835. https://doi.org/10.1016/j.rser.2021.110835. Klemm, Christian, and Peter Vennemann. “Modeling and Optimization of Multi-Energy Systems in Mixed-Use Districts: A Review of Existing Methods and Approaches.” Renewable and Sustainable Energy Reviews 135 (January 1, 2021): 110206. https://doi.org/10.1016/j.rser.2020.110206.
1.1.1.1.47 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 Monat | ökologisch | 1 |  | Loads: higher number of redundancies required in the system | The lack of synchronization between generation and consumption leads to higher material consumption, as infrastructural redundancies have to be created - especially in an energy system based on renewable energies.
1.1.1.1.48 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 Monat | ökologisch | 2 |  | Loads: low consumption of materials and resources for operation | The consumption of resources and materials as well as the energy required for operation are the lowest.
1.1.1.1.49 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 Monat | ökologisch | 3 |  | Positive effects: no additional benefits | No additional positive effects (apart from the low ecological burden) can be realized.
1.1.1.1.50 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 Monat | betrieblich | 1 |  | Economic: little scope for developing new business models | This level of resolution offers little scope for the development of business models for digital applications based on the flexible generation/consumption of electricity.
1.1.1.1.51 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 Monat | betrieblich | 1 |  | Users: no active user involvement | No added value is created for users. It is not possible to delve deeper into electricity consumption (even if there is interest). No excessive demands due to too much data. There is effectively no user involvement - the user plays a passive role in the system.
1.1.1.1.52 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 Monat | rechtlich | 1 |  | Application of the General Data Protection Regulation | Monthly energy consumption itself is also covered by privacy protection and can therefore constitute the processing of personal data regardless of the specific purpose of processing. However, it is no longer possible to draw precise conclusions about the residents' behavior, which means that the impact on their private lives remains minimal.
1.1.1.1.53 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 Monat | rechtlich | 2 |  | Advantage in data protection compliance | Due to the low level of interference with private life, the personal reference of the data can already be excluded in combination with a low spatial aggregation (see there).
1.1.1.1.54 | Aggregation | Reporting information regarding electricity consumption | zeiltich | 1 Monat | technisch | 1 |  | Low temporal resolution | Data with a monthly resolution can be used to support seasonal demand planning. It can also be used to partially calibrate simulation models.